## infra
service_name | interface | rate_bps_in | rate_bps_out | rate_pps_in | rate_pps_out | mac | vrf | proto | status | src_ip | address | commands | ping_test | ping_result | exec_time
**Connected to CKLN8004CIBE001 Bundle-Ether10** | Bundle-Ether10 | 82110000 | 269852000 | 12327 | 107459 | 08ec.f505.bb24 | default | Up | Up | 10.205.197.22 | 10.205.197.21 | ping 10.205.197.21 source 10.205.197.22 | { "destination": "10.205.197.21", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "3", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:37:48.695 PHT 18:37:48.860 PHT Wed Apr 21 2021
**Connected to MKTG3610CIBP002 Bundle-Ether45** | Bundle-Ether31 | 406405000 | 808152000 | 84254 | 115723 | d46a.3527.448c | default | Up | Up | 10.205.194.9 | 10.205.194.10 | ping 10.205.194.10 source 10.205.194.9 | { "destination": "10.205.194.10", "response_stream": "!!!!!", "rtt_avg": "4", "rtt_max": "5", "rtt_min": "4", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:37:51.424 PHT 18:37:51.588 PHT Wed Apr 21 2021
**Connected to SPC00E67CIBP001 Bundle-Ether41** | Bundle-Ether32 | 5489771000 | 3503097000 | 980504 | 943977 | d46a.350f.fc86 | default | Up | Up | 10.205.194.13 | 10.205.194.14 | ping 10.205.194.14 source 10.205.194.13 | { "destination": "10.205.194.14", "response_stream": "!!!!!", "rtt_avg": "2", "rtt_max": "3", "rtt_min": "2", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:37:54.130 PHT 18:37:54.296 PHT Wed Apr 21 2021
**Connected to CKL00Y84CICU001 Bundle-Ether252** | Bundle-Ether251 | 65862000 | 804534000 | 45698 | 89660 | d46a.3536.ec83 | default | Up | Up | 10.205.230.214 | 10.205.230.213 | ping 10.205.230.213 source 10.205.230.214 | { "destination": "10.205.230.213", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:37:56.817 PHT 18:37:56.982 PHT Wed Apr 21 2021
**Connected to MCT04900CICUS01 Bundle-Ether251*** | Bundle-Ether252 | 21474000 | 130278000 | 10944 | 17759 | 9ce1.7668.a8dc | default | Up | Up | 10.205.148.93 | 10.205.148.94 | ping 10.205.148.94 source 10.205.148.93 | { "destination": "10.205.148.94", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:37:59.486 PHT 18:37:59.654 PHT Wed Apr 21 2021
**Connected to MCT03903CICNS03 Bundle-Ether101** | Bundle-Ether701 | 61000 | 365000 | 97 | 153 | 9ce1.76d1.6244 | default | Up | Up | 10.205.150.65 | 10.205.150.66 | ping 10.205.150.66 source 10.205.150.65 | { "destination": "10.205.150.66", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:38:02.217 PHT 18:38:02.381 PHT Wed Apr 21 2021
**Connected to CKL3922CISV015 DC2-UCS XTC-2** | TenGigE0/1/0/10.694 | 27000 | 22000 | 35 | 29 | 0050.56b4.88a6 | default | Up | Up | 10.205.197.105 | 10.205.197.106 | ping 10.205.197.106 source 10.205.197.105 | { "destination": "10.205.197.106", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:38:04.944 PHT 18:38:05.110 PHT Wed Apr 21 2021
**Connected to CKL3922CISV016 DC2-UCS T-RR-2** | TenGigE0/1/0/11.695 | 25000 | 42000 | 27 | 25 | 0050.56b4.d42e | default | Up | Up | 10.205.197.109 | 10.205.197.110 | ping 10.205.197.110 source 10.205.197.109 | { "destination": "10.205.197.110", "response_stream": "!!!!!", "rtt_avg": "5", "rtt_max": "22", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:38:07.732 PHT 18:38:07.897 PHT Wed Apr 21 2021
**Connected to CKL3922CISV017 DC2-UCS S-RR-1** | TenGigE0/1/0/12.696 | 2195000 | 278000 | 272 | 345 | 0050.56b4.25ca | default | Up | Up | 10.205.197.113 | 10.205.197.114 | ping 10.205.197.114 source 10.205.197.113 | { "destination": "10.205.197.114", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:38:10.420 PHT 18:38:10.584 PHT Wed Apr 21 2021
**Connected to CKL3992CIRR003 DC2-UCS S-RR-3** | TenGigE0/1/0/32.698 | 3810000 | 239000 | 361 | 363 | 0050.56b4.7b22 | default | Up | Up | 10.205.197.121 | 10.205.197.122 | ping 10.205.197.122 source 10.205.197.121 | { "destination": "10.205.197.122", "response_stream": "!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "5", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "5", "timeout": "2" } | Ping Success | Wed Apr 21 18:38:13.130 PHT 18:38:13.297 PHT Wed Apr 21 2021

## vpws
description | group | xc | evpn_nei | create_date | create_time | create_dur | last_change_date | last_change_time | last_change_dur | last_down_date | last_down_time | last_down_dur | state | tx | rx | interface | rate_bps_in | rate_bps_out | rate_pps_in | rate_pps_out | ping_test | ping_result | exec_time
DP_CLKHUBE002 GigabitEthernet5/1/0 | XCCLK02SPC01001 | CIPB20092_PLDT | 10.205.130.3 | 17/06/2020 | 02:39:19 | (44w0d ago) | 11/09/2020 | 01:34:11 | (31w5d ago) | 11/09/2020 | 01:07:16 | (31w5d ago) | up | 149571478141 | 166235547037 | TenGigE0/1/0/13 | 499535000 | 813491000 | 155428 | 180991 | { "destination": "10.205.130.3/32", "response_stream": "!", "rtt_avg": "5", "rtt_max": "5", "rtt_min": "5", "sent_qty": "1", "sent_type": "100-byte MPLS Echos", "success_pct": "100", "success_qty": "1" } | Ping Success | Wed Apr 21 18:38:17.124 PHT 18:38:17.288 PHT Wed Apr 21 2021
DP_CLKHUBE002 GigabitEthernet5/1/1 | XCCLK02SPC01002 | CIPB20093_PLDT | 10.205.130.3 | 17/06/2020 | 02:41:15 | (44w0d ago) | 11/09/2020 | 01:34:12 | (31w5d ago) | 11/09/2020 | 01:07:17 | (31w5d ago) | up | 148415093077 | 169357428005 | TenGigE0/1/0/14 | 513806000 | 805979000 | 157137 | 185857 | { "destination": "10.205.130.3/32", "response_stream": "!", "rtt_avg": "5", "rtt_max": "5", "rtt_min": "5", "sent_qty": "1", "sent_type": "100-byte MPLS Echos", "success_pct": "100", "success_qty": "1" } | Ping Success | Wed Apr 21 18:38:17.124 PHT 18:38:17.288 PHT Wed Apr 21 2021
DP_CLKHUBE002 GigabitEthernet5/1/2 | XCCLK02SPC02001 | CIPB20094_PLDT | 10.205.130.4 | 17/06/2020 | 02:43:19 | (44w0d ago) | 13/08/2020 | 05:19:03 | (35w6d ago) | 13/08/2020 | 05:16:54 | (35w6d ago) | up | 334059965851 | 289021777657 | TenGigE0/1/0/15 | 970622000 | 2051512000 | 353569 | 307159 | { "destination": "10.205.130.4/32", "response_stream": "!", "rtt_avg": "5", "rtt_max": "5", "rtt_min": "5", "sent_qty": "1", "sent_type": "100-byte MPLS Echos", "success_pct": "100", "success_qty": "1" } | Ping Success | Wed Apr 21 18:38:18.704 PHT 18:38:18.868 PHT Wed Apr 21 2021
DP_CLKHUBE002 GigabitEthernet5/1/3 | XCCLK02SPC02002 | CIPB20095_PLDT | 10.205.130.4 | 17/06/2020 | 02:45:01 | (44w0d ago) | 13/08/2020 | 05:19:03 | (35w6d ago) | 13/08/2020 | 05:16:54 | (35w6d ago) | up | 150757719599 | 195479882300 | TenGigE0/1/0/16 | 504383000 | 1099185000 | 153501 | 208162 | { "destination": "10.205.130.4/32", "response_stream": "!", "rtt_avg": "5", "rtt_max": "5", "rtt_min": "5", "sent_qty": "1", "sent_type": "100-byte MPLS Echos", "success_pct": "100", "success_qty": "1" } | Ping Success | Wed Apr 21 18:38:18.704 PHT 18:38:18.868 PHT Wed Apr 21 2021
DP_CKLN8004CIRO001_TE0/1/1_RID165889 | XCCKLN8004CIRO001_SFUCIN40028500 | CIPB8500_CKLN8004CIRO001_SFUCIN4002 | 10.205.130.33 | 15/03/2021 | 17:00:27 | (5w2d ago) | 15/03/2021 | 17:00:27 | (5w2d ago) |  |  |  | up | 536458 | 243200 | TenGigE0/1/0/23 | 0 | 0 | 0 | 0 | { "destination": "10.205.130.33/32", "response_stream": "!", "rtt_avg": "8", "rtt_max": "8", "rtt_min": "8", "sent_qty": "1", "sent_type": "100-byte MPLS Echos", "success_pct": "100", "success_qty": "1" } | Ping Success | Wed Apr 21 18:38:19.505 PHT 18:38:19.670 PHT Wed Apr 21 2021

## dhcp
state | count
INIT | 0
INIT_DPM_WAITING | 0
INIT_DAPS_WAITING | 0
SELECTING | 0
OFFER_SENT | 0
REQUESTING | 0
REQUEST_INIT_DPM_WAITING | 0
ACK_DPM_WAITING | 0
BOUND | 0
RENEWING | 0
INFORMING | 0
REAUTHORIZE | 0
DISCONNECT_DPM_WAIT | 0
ADDR_CHANGE_DPM_WAIT | 0
DELETING | 0
DISCONNECTED | 0
RESTARTING | 0

## l3vpn
service_name | interface | rate_bps_in | rate_bps_out | rate_pps_in | rate_pps_out | mac | vrf | proto | status | src_ip | address | commands | ping_test | ping_result | exec_time
Connected to ANG03922RT01NE40E01_SMART_PIVOT_SIGTRAN_Signaling (RAN_Backend_Core)_RID143808 | Bundle-Ether20000.20 | 4000 | 0 | 4 | 0 | f898.efc2.a79c | IPR40005_SIGTRAN | Up | Up | 10.86.130.141 | 10.86.130.142 | ping vrf IPR40005_SIGTRAN 10.86.130.142 source 10.86.130.141 repeat 20 | { "destination": "10.86.130.142", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:48:59.783 PHT 18:48:59.952 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_SERVICE_Core<>Core_RID143808 | Bundle-Ether20000.40 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40010_SERVICE | Up | Up | 10.86.130.149 | 10.86.130.150 | ping vrf IPR40010_SERVICE 10.86.130.150 source 10.86.130.149 repeat 20 | { "destination": "10.86.130.150", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:01.564 PHT 18:49:01.729 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_S1 (SMART_S1)_WO-20201106-01235 | Bundle-Ether20000.50 | 1728048000 | 19881000 | 211986 | 8639 | f898.efc2.a79c | IPR40004_S1 | Up | Up | 10.86.130.157 | 10.86.130.158 | ping vrf IPR40004_S1 10.86.130.158 source 10.86.130.157 repeat 20 | { "destination": "10.86.130.158", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:03.361 PHT 18:49:03.528 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_MBB_BSC_RNC<>Packet Core _RID143808 | Bundle-Ether20000.60 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40007_MBB | Up | Up | 10.86.130.165 | 10.86.130.166 | ping vrf IPR40007_MBB 10.86.130.166 source 10.86.130.165 repeat 20 | { "destination": "10.86.130.166", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:05.180 PHT 18:49:05.350 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_MBB_BSC_RNC<>Packet Core _RID143808 | Bundle-Ether20000.70 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40007_MBB | Up | Up | 10.86.130.173 | 10.86.130.174 | ping vrf IPR40007_MBB 10.86.130.174 source 10.86.130.173 repeat 20 | { "destination": "10.86.130.174", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:06.998 PHT 18:49:07.170 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_GPRS_Core<>Core_RID143808 | Bundle-Ether20000.80 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40008_GPRS | Up | Up | 10.86.130.181 | 10.86.130.182 | ping vrf IPR40008_GPRS 10.86.130.182 source 10.86.130.181 repeat 20 | { "destination": "10.86.130.182", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:08.794 PHT 18:49:08.958 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_MBP_BBW/Internal SMART_PIVOT Public IP_RID143808 | Bundle-Ether20000.120 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40011_MBP | Up | Up | 10.86.130.189 | 10.86.130.190 | ping vrf IPR40011_MBP 10.86.130.190 source 10.86.130.189 repeat 20 | { "destination": "10.86.130.190", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:10.550 PHT 18:49:10.715 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_OAM_Management_RID143808 | Bundle-Ether20000.130 | 2000 | 5000 | 6 | 6 | f898.efc2.a79c | IPR40003_OAM | Up | Up | 10.86.130.133 | 10.86.130.134 | ping vrf IPR40003_OAM 10.86.130.134 source 10.86.130.133 repeat 20 | { "destination": "10.86.130.134", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:12.307 PHT 18:49:12.473 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_IT_LAN_IT Workstations_RID143808 | Bundle-Ether20000.160 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR30004_IT_LAN | Up | Up | 10.86.130.197 | 10.86.130.198 | ping vrf IPR30004_IT_LAN 10.86.130.198 source 10.86.130.197 repeat 20 | { "destination": "10.86.130.198", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:14.062 PHT 18:49:14.225 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_IT_DC_IT Servers_RID143808 | Bundle-Ether20000.170 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR30005_IT_DC | Up | Up | 10.86.130.205 | 10.86.130.206 | ping vrf IPR30005_IT_DC 10.86.130.206 source 10.86.130.205 repeat 20 | { "destination": "10.86.130.206", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:15.861 PHT 18:49:16.026 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_VOIP_BSC_RNC<>CS Core (MGW)_RID143808 | Bundle-Ether20000.180 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40006_VOIP | Up | Up | 10.86.130.213 | 10.86.130.214 | ping vrf IPR40006_VOIP 10.86.130.214 source 10.86.130.213 repeat 20 | { "destination": "10.86.130.214", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:17.621 PHT 18:49:17.785 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_DATA_SYNC_PACKET CORE SYNC_RID143808 | Bundle-Ether20000.181 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40016_DATA_SYNC | Up | Up | 10.86.130.229 | 10.86.130.230 | ping vrf IPR40016_DATA_SYNC 10.86.130.230 source 10.86.130.229 repeat 20 | { "destination": "10.86.130.230", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:19.365 PHT 18:49:19.529 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_WIFI_Controller (SMART_PIVOT WIFI)_RID143808 | Bundle-Ether20000.182 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40017_WIFI | Up | Up | 10.86.130.237 | 10.86.130.238 | ping vrf IPR40017_WIFI 10.86.130.238 source 10.86.130.237 repeat 20 | { "destination": "10.86.130.238", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:21.146 PHT 18:49:21.308 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT to PLDT_UNIFIED NMS_RID143808 | Bundle-Ether20000.183 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR30121_UNIFIED_NMS | Up | Up | 10.86.143.45 | 10.86.143.46 | ping vrf IPR30121_UNIFIED_NMS 10.86.143.46 source 10.86.143.45 repeat 20 | { "destination": "10.86.143.46", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:22.889 PHT 18:49:23.055 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_VOIP IMS_RID143808 | Bundle-Ether20000.190 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40026_VOIP_IMS | Up | Up | 10.86.130.221 | 10.86.130.222 | ping vrf IPR40026_VOIP_IMS 10.86.130.222 source 10.86.130.221 repeat 20 | { "destination": "10.86.130.222", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:24.632 PHT 18:49:24.796 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_DMZ-NL2_DMZ to vEPDG (for Vitro Clark)_RID143808 | Bundle-Ether20000.215 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR40020_DMZ-NL2 | Up | Up | 10.86.130.253 | 10.86.130.254 | ping vrf IPR40020_DMZ-NL2 10.86.130.254 source 10.86.130.253 repeat 20 | { "destination": "10.86.130.254", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:26.438 PHT 18:49:26.607 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_SIGTRAN_Signaling (RAN_Backend_Core)_WO-20201105-02424 | Bundle-Ether20001.700 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40005_SIGTRAN | Up | Up | 10.86.135.45 | 10.86.135.46 | ping vrf IPR40005_SIGTRAN 10.86.135.46 source 10.86.135.45 repeat 20 | { "destination": "10.86.135.46", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:28.202 PHT 18:49:28.365 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_OAM_Management_WO-20201105-02424 | Bundle-Ether20001.701 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40003_OAM | Up | Up | 10.86.135.53 | 10.86.135.54 | ping vrf IPR40003_OAM 10.86.135.54 source 10.86.135.53 repeat 20 | { "destination": "10.86.135.54", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:30.010 PHT 18:49:30.174 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_VOIP_BSC_RNC<>CS Core (MGW)_WO-20201105-02424 | Bundle-Ether20001.702 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40006_VOIP | Up | Up | 10.86.135.61 | 10.86.135.62 | ping vrf IPR40006_VOIP 10.86.135.62 source 10.86.135.61 repeat 20 | { "destination": "10.86.135.62", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:31.772 PHT 18:49:31.937 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_IT_LAN_IT Workstations_WO-20201105-02424 | Bundle-Ether20001.703 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR30004_IT_LAN | Up | Up | 10.86.135.69 | 10.86.135.70 | ping vrf IPR30004_IT_LAN 10.86.135.70 source 10.86.135.69 repeat 20 | { "destination": "10.86.135.70", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:33.539 PHT 18:49:33.702 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_IT_DC_IT Servers_WO-20201105-02424 | Bundle-Ether20001.704 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR30005_IT_DC | Up | Up | 10.86.135.77 | 10.86.135.78 | ping vrf IPR30005_IT_DC 10.86.135.78 source 10.86.135.77 repeat 20 | { "destination": "10.86.135.78", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:35.302 PHT 18:49:35.467 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_NGNSIG_WO-20201105-02424 | Bundle-Ether20001.705 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR30012_NGNSIG | Up | Up | 10.86.135.125 | 10.86.135.126 | ping vrf IPR30012_NGNSIG 10.86.135.126 source 10.86.135.125 repeat 20 | { "destination": "10.86.135.126", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:37.065 PHT 18:49:37.229 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_USA-SERVICES_WO-20201105-02424 | Bundle-Ether20001.706 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR44072_USA-SERVICES | Up | Up | 10.86.135.133 | 10.86.135.134 | ping vrf IPR44072_USA-SERVICES 10.86.135.134 source 10.86.135.133 repeat 20 | { "destination": "10.86.135.134", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:38.827 PHT 18:49:38.992 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_USA-OM_WO-20201105-02424 | Bundle-Ether20001.707 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR44071_USA-OM | Up | Up | 10.86.135.141 | 10.86.135.142 | ping vrf IPR44071_USA-OM 10.86.135.142 source 10.86.135.141 repeat 20 | { "destination": "10.86.135.142", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:40.592 PHT 18:49:40.758 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_MBP_BBW/Internal SMART_PIVOT Public IP_WO-20201105-02424 | Bundle-Ether20001.708 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40011_MBP | Up | Up | 10.86.134.77 | 10.86.134.78 | ping vrf IPR40011_MBP 10.86.134.78 source 10.86.134.77 repeat 20 | { "destination": "10.86.134.78", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:42.380 PHT 18:49:42.544 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_SECUREDNS_WO-20201105-02424 | Bundle-Ether20001.709 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR30006_SECUREDNS | Up | Up | 10.86.134.85 | 10.86.134.86 | ping vrf IPR30006_SECUREDNS 10.86.134.86 source 10.86.134.85 repeat 20 | { "destination": "10.86.134.86", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:44.144 PHT 18:49:44.307 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_GPRS_Core<>Core_WO-20201105-02424 | Bundle-Ether20001.710 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40008_GPRS | Up | Up | 10.86.134.93 | 10.86.134.94 | ping vrf IPR40008_GPRS 10.86.134.94 source 10.86.134.93 repeat 20 | { "destination": "10.86.134.94", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:45.902 PHT 18:49:46.069 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_MBB_WO-20201105-02424 | Bundle-Ether20001.711 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40007_MBB | Up | Up | 10.86.134.101 | 10.86.134.102 | ping vrf IPR40007_MBB 10.86.134.102 source 10.86.134.101 repeat 20 | { "destination": "10.86.134.102", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:47.658 PHT 18:49:47.822 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_S1_WO-20201105-02424 | Bundle-Ether20001.712 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40004_S1 | Up | Up | 10.86.134.109 | 10.86.134.110 | ping vrf IPR40004_S1 10.86.134.110 source 10.86.134.109 repeat 20 | { "destination": "10.86.134.110", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:49.434 PHT 18:49:49.597 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_NTP_WO-20201105-02424 | Bundle-Ether20001.713 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40124_NTP | Up | Up | 10.86.135.173 | 10.86.135.174 | ping vrf IPR40124_NTP 10.86.135.174 source 10.86.135.173 repeat 20 | { "destination": "10.86.135.174", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:51.189 PHT 18:49:51.356 PHT Wed Apr 21 2021
Connected to CLKM3B1R17A9006CR001_SMART_FALCON_DMZ-NL2_DMZ to vEPDG (for Vitro Clark)_WO-20201105-02424 | Bundle-Ether20001.714 | 0 | 0 | 0 | 0 | 40ce.243b.73bf | IPR40020_DMZ-NL2 | Up | Up | 10.86.135.181 | 10.86.135.182 | ping vrf IPR40020_DMZ-NL2 10.86.135.182 source 10.86.135.181 repeat 20 | { "destination": "10.86.135.182", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:52.945 PHT 18:49:53.112 PHT Wed Apr 21 2021
Connected to ANG03922RT01NE40E01_SMART_PIVOT_BNG_DRA (PLDT_BNG_DRA) | Bundle-Ether20000.4026 | 0 | 0 | 0 | 0 | f898.efc2.a79c | IPR30001_BNG_DRA | Up | Up | 10.86.222.5 | 10.86.222.6 | ping vrf IPR30001_BNG_DRA 10.86.222.6 source 10.86.222.5 repeat 20 | { "destination": "10.86.222.6", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:54.703 PHT 18:49:54.867 PHT Wed Apr 21 2021
eNodeB<>EnodeB (X2)_S1_CR-20201209-00278 | Bundle-Ether60002.4071 | 0 | 0 | 0 | 0 | ac75.1d31.a471 | IPR40004_S1_POI | Up | Up | 10.205.208.205 | 10.205.208.206 | ping vrf IPR40004_S1_POI 10.205.208.206 source 10.205.208.205 repeat 20 | { "destination": "10.205.208.206", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:56.460 PHT 18:49:56.624 PHT Wed Apr 21 2021
BTS<>BSC (Southbound)_ABIS_CR-20201209-00278 | Bundle-Ether60002.4073 | 0 | 0 | 0 | 0 | ac75.1d31.a471 | IPR40000_ABIS | Up | Up | 10.205.208.193 | 10.205.208.194 | ping vrf IPR40000_ABIS 10.205.208.194 source 10.205.208.193 repeat 20 | { "destination": "10.205.208.194", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:58.236 PHT 18:49:58.400 PHT Wed Apr 21 2021
NodeB<>RNC (Southbound)_IUB_CR-20201209-00278 | Bundle-Ether60002.4074 | 0 | 0 | 0 | 0 | ac75.1d31.a471 | IPR40001_IUB | Up | Up | 10.205.208.197 | 10.205.208.198 | ping vrf IPR40001_IUB 10.205.208.198 source 10.205.208.197 repeat 20 | { "destination": "10.205.208.198", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:49:59.993 PHT 18:50:00.157 PHT Wed Apr 21 2021
eNodeB<>SSU (Clocking)_SYNC_CR-20201209-00278 | Bundle-Ether60002.4075 | 0 | 0 | 0 | 0 | ac75.1d31.a471 | IPR40002_SYNC | Up | Up | 10.205.208.201 | 10.205.208.202 | ping vrf IPR40002_SYNC 10.205.208.202 source 10.205.208.201 repeat 20 | { "destination": "10.205.208.202", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:01.768 PHT 18:50:01.936 PHT Wed Apr 21 2021
IPR40003_OAM_SMART_Vitro_Clark_NL2DCGW01_02_OM_CN_RID157112 | HundredGigE0/0/0/6.720 | 154000 | 14000 | 24 | 17 | 94f7.ad5a.4782 | IPR40003_OAM | Up | Up | 10.85.80.9 | 10.85.80.10 | ping vrf IPR40003_OAM 10.85.80.10 source 10.85.80.9 repeat 20 | { "destination": "10.85.80.10", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "3", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:03.610 PHT 18:50:03.781 PHT Wed Apr 21 2021
IPR40010_GPRS_SMART_Vitro_Clark_NL2DCGW01_02_Media_CN_RID157112 | HundredGigE0/0/0/6.730 | 0 | 0 | 0 | 0 | 94f7.ad5a.4782 | IPR40008_GPRS | Up | Up | 10.86.233.9 | 10.86.233.10 | ping vrf IPR40008_GPRS 10.86.233.10 source 10.86.233.9 repeat 20 | { "destination": "10.86.233.10", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "3", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:05.430 PHT 18:50:05.595 PHT Wed Apr 21 2021
IPR40007_SIGTRAN_SMART_Vitro_Clark_NL2DCGW01_02_Sig_CN_RID157112 | HundredGigE0/0/0/6.740 | 0 | 0 | 0 | 0 | 94f7.ad5a.4782 | IPR40005_SIGTRAN | Up | Up | 10.86.234.9 | 10.86.234.10 | ping vrf IPR40005_SIGTRAN 10.86.234.10 source 10.86.234.9 repeat 20 | { "destination": "10.86.234.10", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:07.246 PHT 18:50:07.412 PHT Wed Apr 21 2021
IPR40004_S1_SMART_Vitro_Clark_NL2DCGW01_02_RAN_RID157112 | HundredGigE0/0/0/6.760 | 0 | 0 | 0 | 0 | 94f7.ad5a.4782 | IPR40004_S1 | Up | Up | 10.86.232.9 | 10.86.232.10 | ping vrf IPR40004_S1 10.86.232.10 source 10.86.232.9 repeat 20 | { "destination": "10.86.232.10", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:09.103 PHT 18:50:09.275 PHT Wed Apr 21 2021
IPR40013_MBP_SMART_Vitro_Clark_NL2DCGW01_02_Ext_Int_RID157112 | HundredGigE0/0/0/6.770 | 0 | 0 | 0 | 0 | 94f7.ad5a.4782 | IPR40011_MBP | Up | Up | 10.86.239.5 | 10.86.239.6 | ping vrf IPR40011_MBP 10.86.239.6 source 10.86.239.5 repeat 20 | { "destination": "10.86.239.6", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "6", "rtt_max": "73", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:11.072 PHT 18:50:11.239 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI** | TenGigE0/1/0/8.1603 | 74000 | 11000 | 123 | 5 | 0022.bdf8.19ff | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.2.6 | 10.174.2.5 | ping vrf CIPR20000_TNTMGMT_H00 10.174.2.5 source 10.174.2.6 repeat 20 | { "destination": "10.174.2.5", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:12.881 PHT 18:50:13.048 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI** | TenGigE0/1/0/8.1611 | 30000 | 4000 | 10 | 3 | 0022.bdf8.19ff | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.2.22 | 10.174.2.21 | ping vrf CIPR20000_TNTMGMT_H00 10.174.2.21 source 10.174.2.22 repeat 20 | { "destination": "10.174.2.21", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:14.700 PHT 18:50:14.864 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS004 DC2-ACI** | TenGigE0/1/0/9.1607 | 142000 | 0 | 252 | 0 | 0022.bdf8.19ff | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.2.14 | 10.174.2.13 | ping vrf CIPR20000_TNTMGMT_H00 10.174.2.13 source 10.174.2.14 repeat 20 | { "destination": "10.174.2.13", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:16.482 PHT 18:50:16.645 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS004 DC2-ACI** | TenGigE0/1/0/9.1615 | 393000 | 0 | 144 | 0 | 0022.bdf8.19ff | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.2.30 | 10.174.2.29 | ping vrf CIPR20000_TNTMGMT_H00 10.174.2.29 source 10.174.2.30 repeat 20 | { "destination": "10.174.2.29", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:18.239 PHT 18:50:18.403 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI NSO VM** | TenGigE0/1/0/9.1651 | 0 | 0 | 1 | 1 | 0050.56b4.5c1e | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.17.12 | 10.174.17.2 | ping vrf CIPR20000_TNTMGMT_H00 10.174.17.2 source 10.174.17.12 repeat 20 | { "destination": "10.174.17.2", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:19.975 PHT 18:50:20.139 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI NSO VM** | TenGigE0/1/0/9.1651 | 0 | 0 | 1 | 1 | 0050.56b4.68ea | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.17.12 | 10.174.17.3 | ping vrf CIPR20000_TNTMGMT_H00 10.174.17.3 source 10.174.17.12 repeat 20 | { "destination": "10.174.17.3", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:21.772 PHT 18:50:21.939 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI NSO VM** | TenGigE0/1/0/9.1651 | 0 | 0 | 1 | 1 | 0050.56b4.8abc | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.17.12 | 10.174.17.4 | ping vrf CIPR20000_TNTMGMT_H00 10.174.17.4 source 10.174.17.12 repeat 20 | { "destination": "10.174.17.4", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "1", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:23.550 PHT 18:50:23.715 PHT Wed Apr 21 2021
**Connected to CKL3922CIAS003 DC2-ACI NSO VM** | TenGigE0/1/0/9.1651 | 0 | 0 | 1 | 1 | 7488.bb57.ebc0 | CIPR20000_TNTMGMT_H00 | Up | Up | 10.174.17.12 | 10.174.17.11 | ping vrf CIPR20000_TNTMGMT_H00 10.174.17.11 source 10.174.17.12 repeat 20 | { "destination": "10.174.17.11", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:25.348 PHT 18:50:25.512 PHT Wed Apr 21 2021
**Connected to PLDT CLARK 3650 CKLN8004CILB029 Gi 1/1/4** | GigabitEthernet0/1/0/44 | 35000 | 4000 | 15 | 4 | a453.0e81.cff4 | CIPR20000_TNTMGMT_H00 | Up | Up | 10.230.158.173 | 10.230.158.174 | ping vrf CIPR20000_TNTMGMT_H00 10.230.158.174 source 10.230.158.173 repeat 20 | { "destination": "10.230.158.174", "response_stream": "!!!!!!!!!!!!!!!!!!!!", "rtt_avg": "1", "rtt_max": "2", "rtt_min": "1", "sent_qty": "20", "sent_type": "100-byte ICMP Echos", "success_pct": "100", "success_qty": "20", "timeout": "2" } | Ping Success | Wed Apr 21 18:50:27.147 PHT 18:50:27.309 PHT Wed Apr 21 2021